## Disclaimer
About this questionnaire and references: “IADC Cybersecurity Guide for the Upstream Energy Industry v2025” was developed by the IADC Cybersecurity Committee. The questionnaire and references were written to support a revision of the baseline security for upstream assets. Although IADC believes the information presented is accurate as of the date of publication, IADC does not warranty the completeness, reliability, or accuracy of this information. Any action a reader takes in using this information is at the user’s own risk, and IADC, its committees, subcommittees, and contractors will not be liable for losses or damages. Copyright © 2025 International Association of Drilling Contractor (IADC), Houston, Texas USA. All rights reserved. No part of this publication may be reproduced in any form without the prior written permission of the publisher. International Association of Drilling Contactors 3657 Briarpark Dr #200 Houston, TX 77042 USA

## IT Questions
Item # | Category | IT Questions | ISO/IEC 27001:2022 Reference | Evidence Management system reference(s) (module, section, pg#, etc.), independent audits, internal audits, inspections, certifications, etc.), NOTE: explain all N/A responses | Enter 1 for Yes, 0 for No, 0.5 for Partial, N/A for not applicable | Risk Level # (from organizational risk matrix) | Corrective Action (CA) | CA Priority (high-3, medium-2, low-1, N/A) | Notes and Comments
1 | Leadership | Does the organization have a management of change (MOC) policy which includes IT infrastructure, software and applications? | 5.2
2 | Planning | Does the organization have disaster recovery plans for every critical IT system with OT dependencies? | 6.1
3 | Planning | Is there an IT risk management program? | 6.1.1
4 | Planning | Does the organization have the ability to initiate secure transmission of business information to external parties? | 6.1
5 | Planning | Are secure SDLC (Software Development Lifecycle) practices in place for in-house applications, including change control, secure environments, and security testing? | 6.1
6 | Planning | Does the organization have a third-party risk management program? | 6.1
7 | Planning | Are there contractual agreements in place which cover supply chain cybersecurity requirements? | 6.1
8 | Planning | Do your organization have an IT Asset Lifecycle Plan in place? | 6.2
9 | Planning | Does the organization have an IT incident response plan? | 6.1
10 | Support | Does the organization have backup (immutable) copies of IT information, software, and system images? | 7.5.3
11 | Support | Does the organization have data flow diagrams for all critical IT systems necessary for OT processes? | 7.5
12 | Operation | Is the IT enterprise network segmented from the OT network? | 8.3
13 | Operation | Are firewall activities logged and monitored? | 8.3
14 | Operation | Is the firewall management solution protected against unauthorized access (i.e. using two-factor authentication)? | 8.3
15 | Operation | Does the organization maintain detection, prevention and recovery controls to protect against malware? | 8.3
16 | Operation | Are backup schedules and recovery tests determined and maintained periodically for IT systems? | 8.1
17 | Operation | Are all relevant information processing systems within the organization or security domain synchronized to a single trusted reference time source? | 8.1
18 | Operation | Does the organization have an IT vulnerability management program (which includes patch management)? | 8.1
19 | Performance Evaluation | Are gaps identified in the last IT security health check added to the corrective action register? | 9.1
20 | Performance Evaluation | Are IT systems configured and hardened so that they are only used in accordance with OEM specifications? | 9.1
21 | Performance Evaluation | Is a network intrusion system and/or a detection system in place (IDS and IPS)? | 9.1
22 | Performance Evaluation | Is the IT incident response plan tested at least annually? | 9.1
23 | Performance Evaluation | Is there a IT cybersecurity training and awareness program? | 9.1
24 | Performance Evaluation | Are disaster recovery plans for critical IT system applications (i.e. identity application, change management application, preventive maintenance application, etc.) with OT dependencies tested and trained with regularly? | 9.1
25 | Performance Evaluation | Does the organization regularly monitor, review, and audit OT supplier service delivery? | 9.1
26 | Performance Evaluation | Is IT critical system data encrypted? | 9.1
27 | Performance Evaluation | Does the organization maintain current list of relevant IT security industry and independent certifications held for the services offered? These may include but are not limited to information security management system certification (e.g. ISO 27001). | 9.1

## OT Questions
Item # | Category | OT Questions | ISA/IEC-62443-2-1-2024 Reference | Evidence Management system reference(s) (module, section, pg#, etc.), independent audits, internal audits, inspections, certifications, etc.), NOTE: explain all N/A responses | Enter 1 for Yes, 0 for No, 0.5 for Partial, N/A for not applicable | Risk Level # (from organizational risk matrix) | Corrective Action (CA) | CA Priority (high-3, medium-2, low-1, N/A) | Notes and Comments
1 | Organizational Security Measures | Is there an OT risk management program? | 6.2
2 | Organizational Security Measures | Does your organization have an approved OT security governance structure (i.e. policies, procedures, defined roles and responsibilities, etc.) ? | 6.2
3 | Organizational Security Measures | Is the OT security policy approved by local/regional top management, available, and communicated to the organization? | 6.2
4 | Organizational Security Measures | Is there an OT cybersecurity training and awareness program? | 6.2.4
5 | Organizational Security Measures | Does the organization have role-based OT security training? | 6.2.4, 6.2.5
6 | Organizational Security Measures | Are disaster recovery plans for critical OT systems tested and trained with regularly? | 6.2.4, 12.2
7 | Organizational Security Measures | Are there contractual agreements in place which include OT cybersecurity requirements? | 4.3, 6.2.6
8 | Organizational Security Measures | Does the manufacturing, production, or drilling facility have a designated role or position accountable for all OT systems and cybersecurity? | 6.2.3
9 | Organizational Security Measures | Does the organization have an OT policy for role-based access control with least privilege? | 6.2, 6.4, 11
10 | Organizational Security Measures | Have you published and communicated all OT policies to all employees and others who need to know? | 6.2.4
11 | Organizational Security Measures | Are OT policies reviewed at least annually and when significant changes occur? | 6.3
12 | Organizational Security Measures | Are OT responsibilities and authorities communicated to designated roles? | 6.2.4, 6.2.5
13 | Organizational Security Measures | Has the division of cyber security roles and responsibilities between system/information owners and third-party stakeholders (e.g., suppliers, customers, and partners) been established by agreement for each OT system to reduce risks to organization assets? | 6.2.1, 6.2.6
14 | Organizational Security Measures | Are security mechanisms, service levels, and management requirements of all network services identified and included in-network services agreements, whether these services are provided in-house or outsourced? | 6.2
15 | Organizational Security Measures | Is site-specific, current introduction training on OT security provided to all? | 6.2.4, 6.2.5, 6.2.6
16 | Organizational Security Measures | Are key performance indicators related to OT cyber security gathered and reported regularly? | 6.3
17 | Organizational Security Measures | Does your organization's enterprise risk management (ERM) include OT cybersecurity? | 6.2
18 | Organizational Security Measures | Is there a continual improvement program for the OT management system? | 6.3
19 | Organizational Security Measures | Does the organization follow an OT management system for nonconformities (reaction, evaluation, corrective action, follow-up review, maintenance records, and management changes? | 6
20 | Organizational Security Measures | Does the organization have a management of change (MOC) policy which includes OT infrastructure, software and applications ? | 6.2, 7.2.4
21 | Organizational Security Measures | Does the engineering process include OT security requirements and considerations (e.g. NIST SP 800-82, ISA/IEC-62443-2-1-2024)? | 6.2, 7.2.4
22 | Organizational Security Measures | Do all sites have an OT system obsolescence plan in place? | 6.2, 7.2.4
23 | Organizational Security Measures | Are OT documents part of the organization's document management system and accessible when needed? | 6.2.1, 13
24 | Organizational Security Measures | Are firewall rules audited regularly to ensure only necessary rules are configured? | 6.3, 7.2.4, 8
25 | Organizational Security Measures | Is physical security in place for OT systems? | 6.4
26 | Organizational Security Measures | Are gaps identified in the last OT security review added to the corrective action register? | 6.3.4
27 | Organizational Security Measures | Is there an acceptable use policy for OT assets? | 6.2
28 | Configuration Management | Are network maps for all critical OT components/systems properly documented and regularly maintained? | 7
29 | Configuration Management | Are the interfaces, configurations, and data flows between critical OT systems documented and maintained? | 7
30 | Configuration Management | Are critical OT systems configured and hardened so that they are only used for their originally designated purpose? | 7
31 | Configuration Management | Does the organization maintain a software and hardware register for all OT devices? | 7
32 | Configuration Management | Does the register include details of firmware versions, mac address, backups, software version, and associated license keys, etc.? | 7
33 | Configuration Management | Are portable devices (such as laptops, tablets, etc.) used to communicate with the OT system configured and used in a way which does not allow use for other purposes? | 7
34 | Network and Communications Security | Does the organization have a policy for acceptable use of remote access to OT systems? | 8.4
35 | Network and Communications Security | Is there an established DMZ separating the IT and OT networks? | 8.2
36 | Network and Communications Security | Are OT Zones separated from untrusted zones using managed firewall(s) that only permit approved data communications? | 8.2
37 | Network and Communications Security | Are all OT communications that pass through external networks encrypted? | 8.2
38 | Network and Communications Security | Does all external data communication between networks and suppliers go through controlled gateways (e.g., firewalls, terminal servers)? | 8.2
39 | Network and Communications Security | Are firewalls logged and monitored? | 8.2
40 | Network and Communications Security | Is the firewall management solution protected against unauthorized access (i.e. using two-factor authentication)? | 8.2
41 | Network and Communications Security | Have independent safety systems been identified and documented? | 8.2.3
42 | Network and Communications Security | Does remote access support time-limited access based on work orders? | 6.2, 8.4
43 | Network and Communications Security | Is OT Network Security Monitoring used? | 8
44 | Network and Communications Security | Is remote access activity logged? | 8.4
45 | Component Security | Does the organization maintain detection, prevention and recovery controls to protect against malware? | 6.3, 9.3
46 | Component Security | Does the organization require supplier and third-party OT equipment to be scanned for malware before connecting to the OT network? | 9.3
47 | Protection of Data | Does the organization have procedures for the management of OT removable media? | 9.2, 10.2
48 | User Access Control | Is there an onboarding and offboarding process for OT access? | 11
49 | User Access Control | Does the organization control access to OT source code? | 6.3, 11.3
50 | User Access Control | Is the secure remote access solution the only available method of remote access without any kind of “backdoor"? | 8.4, 11.2
51 | User Access Control | Is remote access controlled and only enabled when authorized? | 8.4, 11.2
52 | User Access Control | Are there any software or mechanical locks on USB ports? | 11
53 | User Access Control | Is third-party access to perform work on OT systems required and managed by a permit-to-work process? | 7.2.4, 11
54 | User Access Control | Is a hardware or software locking mechanism used to enable configuration mode on SIS (safety instrumented systems i.e. fire and gas systems)? | 2025-07-11
55 | User Access Control | Are admin accounts controlled and/or managed? | 6.2, 11.2, 11.3
56 | Event and Incident Management | Does the organization have documented disaster recovery plans for every critical OT system? | 12.2
57 | Event and Incident Management | Does the organization have an OT security incident response plan? | 6.2, 12.2.2
58 | Event and Incident Management | Are unauthorized applications removed in a secure manner which is documented and approved? | 6.2, 7.2.4, 12.2, B.2
59 | Event and Incident Management | Is the OT incident response plan tested at least annually? | 6.2, 6.3, 12.2
60 | Event and Incident Management | Are users reporting OT security incidents? | 6.3, 12.2.2
61 | Event and Incident Management | Are the organization's field assets able to monitor events locally and forward them to a central cybersecurity operations center? | 12
62 | Event and Incident Management | Does the organization have an OT vulnerability management program (which includes patching practices)? | 6.3, 7.2.4, 12.2.9
63 | System Integrity and Availability | Does the organization have a policy for backing up data in critical OT systems? | 13.3
64 | System Integrity and Availability | Does the organization have backup copies of OT information, software, and system images? | 6.3, 13.3
65 | System Integrity and Availability | Are backup schedules and recovery tests determined and maintained for OT systems? | 13.3

## References
Item # | References, Standards, Best Practices, Guides, etc. (Note: The current version is recommended.)
1 | American Bureau of Shipping. (2020). Cyberresilience of Ships (E26).
2 | American Bureau of Shipping. (2020). Cyberresilience of Onboard Systems and Equipment (E27)
3 | AGA Report No. 12 Cryptographic Protection of SCADA Communications General Recommendations
4 | ANSI/ASIS SCRM 1 Supply Chain Risk Management: A Compilation of Best Practices
5 | API 1164 American Petroleum Institute Pipeline SCADA Security Standard
6 | Bernmed, Karin, "Visualizing Cyber Security Risks with Bow-Tie Diagrams" LNSC, volume 10744, pgs. 38-56.
7 | Bernsmed, K. (2018). Visualizing Cyber Security Risks with Bow-Tie Diagrams. In P. Liu, S. Mauw, & K. Stolen (Eds.), Graphical Models for Security. GraMSec 2017 (Vol. 10744, pp. 3-1). Springer, Cham.
8 | BSA Framework for Secure Software: A New Approach to Securing the Software Lifecycle
9 | BSIMM Building Security In Maturity Model baseline of activities for software security
10 | CDMP IDAM Continuous Diagnostics and Mitigation Program Identity and Access Management
11 | CDSE Defense Counterintelligence and Security Agency Insider Threat Program
12 | CISA and NIST Defending Against Software Supply Chain Attacks
13 | CISA IoT Internet of Things Security Acquisition Guidance
14 | CMMC Cybersecurity Maturity Model Certification
15 | CNSSI 4009: glossary published by the Committee on National Security Systems that provides definitions for terms related to national security systems, including information assurance and cybersecurity
16 | Coast Guard Maritime Industry Cybersecurity Resource Website
17 | COBIT Control Objectives for Information and Related Technologies framework created by ISACA for information technology (IT) management and IT governance
18 | csrc (dot) nist (dot) gov/glossary
19 | Department of Homeland Security’s (DHS) Cyber Security Evaluation Program (CSEP) – CRR implementation guide
20 | DFARS rules and regulations for the acquisition of supplies and services by the Department of Defense DoD
21 | DNV-RP-G108 Cyber Security in the Oil and Gas Industry
22 | DoD 5220.22-M National Industrial Security Program Operating Manual
23 | e-Stewards Certification: accredited, third-party audited, data security certification program for electronics recyclers, refurbishers, and asset managers
24 | EO 13873 Executive Order on Securing the Information and Communications Technology and Services Supply Chain
25 | FY19 NDAA Section 889 Prohibitions, U.S. Executive Order on Securing the Information and Communications Technology and Services Supply Chain 5/15/2019
26 | GDPR European Union General Data Protection Regulation
27 | HIPAA Health Insurance Portability and Accountability Act
28 | HSE UK OG86 - Cyber Security for Industrial Automation and Control Systems (IACS)
29 | IACS UR E26 – International Association of Classification Societies Cyber Resilience of Ships
30 | IACS UR E27 – International Association of Classification Societies Cyber Resilience of Ships
31 | IADC International Association of Drilling Contractors HSE Case Guidlines for Land Drilling Units
32 | IADC International Association of Drilling Contractors HSE Case Guidlines for Mobile Offshore Drilling Units
33 | IAPH International Association of Ports and Harbors Cybersecurity Guidelines for Ports and Port Facilities
34 | IDA SOAR: Institute for Defence Analyses Software Assurance State-of-the-Art Resource
35 | IEC 62443 Industrial communication networks - Network and system security
36 | ISA 99 is the Industrial Automation and Control System Security Committee of the International Society for Automation (ISA)
37 | ISA white paper: Applying ISO/IEC 27001, ISO/IEC 27002 and the ISA/IEC 62443 Series for Operational Technology Environments
38 | ISO 12931 Performance criteria for authentication solutions used to combat counterfeiting of material goods
39 | ISO 16678 Guidelines for interoperable object identification and related authentication systems to deter counterfeiting and illicit trade
40 | ISO/IEC. (2025). Applying ISO/IEC 27001, ISO/IEC 27002 and the ISA/IEC 62443 Series for Operational Technology Environments.
41 | ISO/IEC 17799 Information Technology – Code of Practice for Information Security Management
42 | ISO 20243 a standard of The Open Group that specifies organizational practices for global supply chain security and the integrity of COTS ICT products
43 | ISO 22378 Security and resilience — Authenticity, integrity and trust for products and documents — Guidelines for interoperable object identification and related authentication systems to deter counterfeiting and illicit trade
44 | ISO 22383 Security and resilience — Authenticity, integrity and trust for products and documents — Guidelines for the selection and performance evaluation of authentication solutions for material goods
45 | ISO 27003 Security management systems for the supply chain
46 | ISO 27018 PII (Personally Identifiable Information) Protection in the Cloud
47 | ISO 27034 Information technology — Application security
48 | ISO 27036 Cybersecurity — Supplier relationships
49 | ISO 28000 Security and resilience – Security management systems
50 | ISO 28001 Security and resilience – Security management systems
51 | ISO 28002 Security management systems for the supply chain — Development of resilience in the supply chain
52 | ISO 31003 Risk management
53 | ISO 7498-2: Information processing systems — Open Systems Interconnection — Basic Reference Model
54 | ISO 9001 Quality Management Systems
55 | ISO/IEC 20000 IT Service Management
56 | ISO/IEC 27001 Information security, cybersecurity and privacy protection — Information security management systems — Requirements
57 | ISO/IEC 27017 Cloud Service Providers Security Standards
58 | ISO/IEC 33001 Information technology — Process assessment
59 | ITIL Information Technology Infrastructure Library practices for IT activities: IT service management (ITSM) and IT asset management (ITAM)
60 | Microsoft’s Trustworthy Computing Security Development Lifecycle, TSP for Secure Software Development
61 | MSSDL: Microsoft Security Development Lifecycle (SDL) is an industry-leading software security assurance process
62 | NASA - CS-10, Physical security measures
63 | NASA - CS-11, Physical access controls
64 | NASA - CS-15, Background checks
65 | NASA - CS-4, Incident response
66 | NASA-HDBK-2203, NASA Software Engineering and Assurance Handbook
67 | NDIA National Defense Industrial Association Engineering for System Assurance
68 | NIST CSF Cybersecurity Framework (CSF)
69 | NIST IR 7622 Notional Supply Chain Risk Management Practices for Federal Information Systems
70 | NIST IR 8259 Foundational Cybersecurity Activities for IoT Device Manufacturers
71 | NIST SP 1800-35 Implementing a Zero Trust Architecture
72 | NIST SP 500-291 Cloud Reference Architecture
73 | NIST SP 800-12 An Introduction to Information Security
74 | NIST SP 800-128 Guide for Security-Focused Configuration Management of Information Systems
75 | NIST SP 800-152 A Framework for Designing Cryptographic Key Management Systems (CKMS)
76 | NIST SP 800-160 Systems Security Engineering: Considerations for a Multidisciplinary Approach in the Engineering of Trustworthy Secure Systems
77 | NIST SP 800-161 Supply Chain Risk Management Practices for Federal Information Systems and Organizations
78 | NIST SP 800-171 Protecting Controlled Unclassified Information (CUI) in nonfederal systems and organizations
79 | NIST SP 800-18 Developing Security, Privacy, and Cybersecurity Supply Chain Risk Management Plans for Systems
80 | NIST SP 800-181 National Initiative for Cybersecurity Education (NICE) Cybersecurity Workforce Framework
81 | NIST SP 800-192 Verification and Test Methods for Access Control Policies/Models
82 | NIST SP 800-37 Guide for Applying the Risk Management Framework to Federal Information Systems
83 | NIST SP 800-53 Recommended Security Controls for Federal Information Systems and Organizations
84 | NIST SP 800-60 Guide for mapping types of information and systems to security categories
85 | NIST SP 800-88 Guidelines for Media Sanitization
86 | NIST SP 800-95 Guide to Secure Web Services
87 | North American Electric Reliability Corporation (NERC) CIPS Critical Infrastructure Protection
88 | Norwegian Oil and Gas Guideline for Information Security Baseline Requirements for Process Control, Safety, and Support ICT Systems (PCSS ICT)
89 | NRC Cyber Security Programs for Nuclear Facilities Regulatory Guide
90 | OLF Information Security Baseline Requirements for Process Control, Safety and Support ICT Systems (OLF 104:2016)
91 | ONSAT Outsourcing Network Services Assessment Tool
92 | OWASP Open Web Application Security Project Web Security Testing Guide (WSTG) is a comprehensive resource for testing the security of web applications and services
93 | PCIS PCI Standard Securing Credit Card Data
94 | R2 Certification accredited, third-party audited, data security certification program for electronics recyclers, refurbishers, and asset managers
95 | SAE AS6171 standard that defines inspection and test procedures, workmanship criteria, and training and certification requirements to detect SC EEE parts
96 | SAFECode Fundamental Practices for Secure Software Development
97 | SAMM Software Assurance Maturity Model is the OWASP framework to help organizations assess, formulate, and implement a strategy for software security, that can be integrated into their existing Software Development Lifecycle (SDLC)
98 | SCA Shared Assessments Standardized Control Assessment
99 | SCTTM Secure Cluster based Trustworthy Topology Management
100 | SIG LITE Standard Information Gathering (SIG) questionnaire is a third-party risk questionnaire created by the Shared Assessments membership organization
101 | SOC System and Organization Controls 2 Type II
102 | SSD Secure Software Development Framework